## Sheet1
类别 | 链接 | SKU | 传感器名 | 英文名 | 库 | 输入 | 输出
环境监测 | https://www.dfrobot.com/index.php?route=product/product&product_id=1486 | SEN0211 | 交流电电流计 | Analog AC Current Sensor | ACCurrent_S | \ | float
| https://www.dfrobot.com/index.php?route=product/product&product_id=1385 | SEN0193 | 防腐蚀土壤湿度传感器 | Capacitive Soil Moisture Sensor | Capa_SoilMoisture_S | \ | int
| https://www.dfrobot.com/index.php?route=product/product&product_id=1517 | SEN0217 | 流量传感器 | Water Flow Sensor | LiquidFlow_S | \ | double
| https://www.dfrobot.com/product-80.html | DFR0066 | SHT1x 温湿度二合一传感器 | Gravity:SHT1x Humidity and Temperature Sensor | Humi&Temp_SHT1x_S | \ | float(协议)
| https://www.dfrobot.com/index.php?route=product/product&product_id=1147 | SEN0172 | 流明光线传感器 | Gravity:Analog Light Sensor LX1972 | Light_LX1972_S | \ | int
| https://www.dfrobot.com/index.php?route=product/product&product_id=1394 | SEN0189 | 浊度传感器 | Gravity: Analog Turbidity Sensor For Arduino | Turbidity_S | \ | float
| https://www.dfrobot.com/index.php?route=product/product&product_id=1025 | SEN0161 | pH传感器 | Gravity: Analog pH Sensor / Meter Kit For Arduino | PH_S | \ | float
安全防护 | https://www.dfrobot.com/index.php?route=product/product&product_id=1195 | SEN0175 | 紫外线传感器 | Gravity: Analog UV Sensor (ML8511) | UV_ML8511_S | \ | float
| https://www.dfrobot.com/product-1574.html | SEN0231 | 甲醛传感器 | Gravity: Formaldehyde (HCHO) Sensor (Arduino & Raspberry Pi Compatible) | HCHO_S | \ | float
| https://www.dfrobot.com/index.php?route=product/product&product_id=1023 | SEN0159 | 二氧化碳传感器 | Gravity: Analog CO2 Gas Sensor For Arduino | CO2_S | \ | float | 通用模拟量+
| https://www.dfrobot.com/product-195.html | DFR0076 | 火焰传感器 | Gravity: Analog Flame Sensor For Arduino | Flame_S | \ | int | 通用模拟量
| https://www.dfrobot.com/product-681.html | SEN0127 | 可燃气体浓度传感器 | Gravity: Analog Gas Sensor (MQ2) For Arduino | MQ2_S | \ | int | 通用模拟量
家电控制 | https://www.dfrobot.com/product-83.html | DFR0034 | 声音强度传感器 | Gravity: Analog Sound Sensor For Arduino | Sound_S | \ | int | 通用模拟量
| https://www.dfrobot.com/product-78.html | DFR0030 | 触摸开关 | Gravity: Digital Capacitive Touch Sensor For Arduino | Capa_Touch_S | \ | 0, 1 | 通用数字量读取
| https://www.dfrobot.com/index.php?route=product/product&product_id=1140 | SEN0171 | PIR传感器 | Gravity: Digital PIR (Motion) Sensor For Arduino | PIR_S | \ | 0, 1 | 通用数字量读取
| https://www.dfrobot.com/index.php?route=product/product&product_id=64 | DFR0017 | 电子继电器 | Gravity: Digital 5A Relay Module | 5A_Relay_M | 0, 1 | \ | 通用数字量写入
工业应用 | https://www.dfrobot.com/index.php?route=product/product&product_id=1474 | SEN0198 | 高温传感器 | Gravity: Analog High Temperature Sensor | HighTemp_S | \ | int
| https://www.dfrobot.com/index.php?route=product/product&product_id=1495 | SEN0206 | 远距离红外温度传感 | Gravity: Non-contact IR Temperature Sensor For Arduino | NonContact_IRTemp_S | \ | float(I2C)
| https://www.dfrobot.com/index.php?route=product/product&product_id=1470 | SEN0205 | 液位传感器 | Gravity: Photoelectric Water / Liquid Level Sensor For Arduino | Photoelec_LiquidLevel_S | \ | int | 通用数字量读取
可穿戴应用 | https://www.dfrobot.com/index.php?route=product/product&product_id=1540 | SEN0203 | 心率传感器 | Gravity: Heart Rate Monitor Sensor for Arduino | HeartRate_S | \ | Uint8_t | 好几个样例代码
机器人 | https://www.dfrobot.com/index.php?route=product/product&product_id=572 | SEN0042 | 巡线传感器 | Gravity:Digital Infrared Distance Sensor (10cm) | 10cm_IRDistance_S | \ | int | 通用数字量读取
| https://www.dfrobot.com/index.php?route=product/product&product_id=763 | SEN0138 | 碰撞传感器 | Crash sensor (Right) | Crash_S | \ | int | 通用数字量读取
| https://www.dfrobot.com/index.php?route=product/product&product_id=1358 | SEN0178 | 加速度计 | Triple Axis Accelerometer FXLN8361 | Accelerometer_FXLN8361_S | \ | float
趣味传感器 | https://www.dfrobot.com/product-1507.html | SEN0197 | 录放音模块 | Gravity: Voice Recorder Module | Recorder_M | int | \
| https://www.dfrobot.com/index.php?route=product/product&product_id=1545 | DFR0439 | LED彩色灯带 | Gravity: Digital LED String Lights (Colorful) For Arduino | LEDString_M | int(0-255) | \
| https://www.dfrobot.com/product-399.html | DFR0052 | 振动传感器 | Gravity: Digital Piezo Disk Vibration Sensor | Piezoelec_Vibration_S | \ | int | 通用模拟量
浊度传感器更新需求： |  | 浊度传感器的样例需要加 1. 代码前段需要解释NTU的意义以及转换的函数 2. 里面自带转换成NTU的函数
SHT1x 温湿度二合一传感器： |  |  | 有写好的库文件！
流明光线传感器： |  |  | 普通的模拟量读取